2020 Annual Drinking Water Quality Report

MT. BAKER WATER ASSOCIATION

The board of Directors encourages your participation in the governance of this organization. The more you know about your association the more you can appreciate what you have a clean dependable supply of drinking water.

We are pleased to report that our drinking water continues to be safe and meets the federal and state requirements. We have 2 sources of water which are the well at the Nooksack River and the well on the Kelly Road, which is only used in case of an emergency at this time. (See Map)

If you have any questions about this report or concerning your water utility, please contact Mr. Rich Frombly, System Manager, at (360) 592-5137. We want our valued customers to be informed about their water utility. If you want to learn more, please attend our annual meeting in February each year. NOTE: We did not have a meeting in 2020 due to Covid.
Mt. Baker Water Association routinely monitors for contaminants in your drinking water according to Federal and State laws. All drinking water, including bottled drinking water, may be reasonably expected to contain at least small amounts of some contaminants. The presence of contaminants does not necessarily indicate that water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the Environmental Protection Agency’s Safe Drinking Water Hotline at 1-800-426-4791.

Testing for microbiological contaminants, inorganic contaminants, synthetic organic contaminants, including pesticides and herbicides, and organic contaminants all indicated “none detected”.

MCL’s, Maximum Containment Levels, are the highest level of a contaminant that is allowed in drinking water.  MCL’s are set as close to the MCLG’s as feasible using the best available treatment technology. MCLG’s, the Maximum Contaminant Level Goal, is the level of a contaminant in drinking water below which there is no known or expected risk to health. To understand the possible health effects described for many regulated constituents, a person would have to drink 2 liters of water every day at the MCL level for a lifetime to have a one-in-a-million chance of having the described health effect.

Some people may be more vulnerable to contaminants in drinking water than the general population.  Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. EPA/CDC guidelines on appropriate means to lessen the risk of infection by cryptosporidium and other microbiological contaminants are available from the Safe Drinking Water Hotline.

It is also time for some reminders to old and new members alike. Each member has the responsibility to keep their meter free of grass & weeds, and no vehicles are parked over it, so that we can find and read the meter.

Another thing everyone can do is keep our eyes open for water leaks. We know that there are some in the system. Please call Rich Frombly or Marv Streubel if you notice any unusual water around. In the winter when it is freezing cold, or late summer when dry, is a good time to find leaks. If it doesn’t seem natural it is probably a leak. It is very important to the sanitation of our system that leaks are repaired in a timely manner. We did find a major leak this spring on Sand Road, north of Smith Road at a station, which we removed during repairs.
An item of importance is to remind the people who live in high-pressure zones; about half of you, the board strongly recommend that you have a pressure-reducing valve on your water line. The water association is not responsible for any damages done to your home due to high pressure. The areas of high pressure are the Smith Road, the Allison Road, the Sand Road north of Kelly Road, and the Mt. Baker Highway, east of a point halfway between Kelly Road and Smith Road. These valves are somewhere in the $75 range and are available at plumbing supply stores. It can save you from a broken water line or a flood in the basement or bathroom when the main line pressure reducer fails and the pressure goes up to 130psi. We just had a pressure reducing valve fail on the Sand Road and resulted in high pressure and a couple of Hot Water Heaters were destroyed.

On the other side of this coin, anyone who lives above the water line should have a check valve on their line so that their hot water tank doesn’t drain back into the system when a main line is shut down for repairs. You can burn up the water-heating element.

Water Conservation

Our main well is located on the bank of the Nooksack River at Cederville. It provides lots of water, but conservation in its use will benefit all of us through less wear and tear on our pump and lower power bills. 

Soda Ash Treatment at River Well Pump
Our Soda Ash Treatment continues successfully as we are maintaining a PH of between 7.2 and 7.4 consistently throughout the system. This should reduce if not eliminate corrosion of copper pipes which we continue to monitor. These are regulated by an Action Level, where the concentration of lead/copper if exceeded, triggers treatment or other requirements that we must follow. This treatment technique is a required process intended to reduce the level of lead/copper in our drinking water.

Our Bi-Monthly water charge is $30.00. (01/01/2011)

(Note: Payments are late if not received before the first day of the next Billing Month)
If no payment is made within a 6 month period, we will notify you that your water will be shutoff if not paid immediately. Also, our bylaws state that nonpayment of one year or other noncompliant issues will start the process of repurchasing your water share at the current value.  We are also in the process of looking at Water Billing Software. One major advantage would be to EMAIL our billing directly to you, so it is important to fill out the Special Card we are inclosing with your email address.

Each of us should continue the over-the-fence conversations that relate to the welfare of the Mount Baker Water Association, Inc. We are a legal corporate family. Communication is vital, as is participation in political activities that impact organizations such as ours.


Water distribution does not just happen. It requires participation of those who use the water. Read the Association Bylaws. Watch for water leaks in our system. Watch for activities that might damage our pipes. Be proud to belong to a local water association that is fiscally solvent and also serve good, clean water to the kitchen faucet.


Become familiar with the governmental regulations that impact our rights to distribute water to our members.


Study the attached sketch of our distribution system. Take time to drive the roads that parallel our pipes and look at the community we serve.


Learn a little about the valves that are in the system. Pressure control valves as well and shut-off valves. Take a good look at the tanks on the Kelly Road hill and get a feel for the security they provide for all of us.


Be diligent in protecting our water from waste and from endangerment by contamination.


Attend Board meetings and the annual membership meeting. Consider running for a Board position. Offer to volunteer a service. Obtain the training required to be legally able to serve as manager of the system. Let’s ensure future stability within the corporation. Without volunteers the cost of our water will increase.

MT. BAKER WATER ASSOCIATION
       FINANCIAL STATUS 2020
        CHECKING ACCOUNT 





MONEY MARKET

Balance 12/31/19

   35,488.99


Balance 12/31/19

   9,502.36
2019 Checks                               (2,532.88) 


Transfer from Checking
 10,000.00
Checks Written 2020
             (38,400.67)


Interest Earned

          8.61
Deposits from Income

   56,547.22 


Balance 12/31/20

  19,510.97


Transfer to MM                        (10,000.00)

Transfer to CD2                       (20,000.00)
Bank Fees                                        (20.00)



Returned Checks                           (227.40)

Interest Earned

         11.70
Harland Checks                               (21.50)
Balance 12/31/20
              20,845.46
CERTIFICATE OF DEPOSIT #1 



      CERTIFICATE OF DEPOSIT #2

Balance 12/31/19
              87,330.71


 Balance 12/31/19

     91,544.37
Interest Earned                            1,253.80


 Transfer from Check

     20,000.00
Balance 12/31/20                    88,584.51


 Interest Earned                                994.05
 Balance 12/31/20                     112,538.42
Total      12/31/19                    223,866.43


Total      12/31/20                     241,479.36





 Board Members:

All board members volunteer their time to serve. These are our home phone numbers, so please be patient when you try to call. Evenings are best. Please leave a message if the machine answers.

        Rob Haught
       President, Bookkeeper, Meter reader, Sample collecting, Maintenance.               

            592-2393

Richard Frombly
Secretary-Treasurer, State certified Water Distribution Manager II &    
  592-5137                   Cross Connection Control Specialist per WAC 249.290. Maintenance 

Marv Streubal           Vice President, Maintenance, operates Soda Ash Injection System

     592-5053

Brent Moa
Board Member
     592-9547
Randy Flemming
Board Member

            739-5022   

Now that summer is here a reminder that you’re Garden irrigation is not to exceed ¼ acre. 
Article XI. Section 4. Benefits and duties of members.

WATER TESTING (2020)





Nitrate



Iron

                                State       Max       Reported                State     Max     Reported
Kelly Road Well
        0.50         10.00      0.50

          0.10       0.30      0.90
River Well 

        0.50         10.00       ND
                      0.10       0.30       ND
                    We did not have any bad Coliform Tests in 2020.
COMING SOON: MOUNT BAKER WATER ASSOCIATION WEBSITE

KEEP AN EYE ON OUR FACEBOOK PAGE TO FIND OUT WHEN ITS UP AND RUNNING

MAP OF MT. BAKER WATER ASSOCIATION

[image: image1.png]SMITH ROAD

NEW TANK

‘ (05/01/2015)
000 GALLONS

KELLY ROAD

-
-

-

STORAGE 280

Pipeline

IIIIIIIIIIIIIIIIIIIIIIIIIIII

Mount Baker Water Association - 2005





	[image: image5.jpg]


[image: image6.jpg]


[image: image7.jpg]



	
	
[image: image2]
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
[image: image3]

	
[image: image4]
	
	
	
	
	

	
	
	
	
	
	
	
	


         MOUNT BAKER WATER ASSOCIATION MEMBER LISTING

	ABRAHAM, MIKE
ALFONSO, TIM

ALLISON, CAROL
ANDERSON, RICHARD 
AUSSEM, PHIL


BAAS, JEROME
BACKSTROM, BRAD

BACKSTROM, DAN

BACKSTROM, KENNETH
BATES, KEVIN

BEAM, TRAVIS
BENNINK, DOYLE 
BENSON, JEREMY


BERGMAN, ROBERT

BIDDLE, SPENCER
BISHOP, EUGENIA
BLAKE, JEFF

BOERCKER, GEOFREY

BONCHEFF, ROBERT
BORG, JOHN

BOWHAY
, BARBARA

BOWHAY, RICHARD

BOWHAY, TANIA

BRAR, HARBINDER

BREHM, JILL

BRODD, ANTHONY

BRUNE,
EDWARD (2)

BUCKINGHAM, KARLA

BURNS, PAT

BUTENSCHOEN, JASON 

BYEMAN, DEANA


CADE, LARRY

CAMPBELL, KEIR

CARSON,
JOANNE
CARSON,
KIM


CARSON, RANDY 


CARY, MERIDITH 

CASPERSON, ERIC

CHAPMAN, WENDY

CHEROSKE, JOHN

CLARK,
DAVID

COLLINS, DEAN

COMPTON, JAKE

COMPTON, JAMES


CONSTANT, BETTY

COONS, RICHARD

COUNTRYMAN, DARYL

CROSS, IAN

CUEVAS, RICHARD
CULNANE, RACHEL (2)
CUNNINGHAM, BRIAN

CUNNINGHAM, SHAWN

CUTLER,
MARC

DANIELSON, ROBERT

DANKE, JOSH

DENBLEYKER, MICHAEL
DEPT OF TRANSPORTATION


DOW, CHESTER

DURDLE, BARBARA

EARLEY,
DAVID

EASTWOOD, SCOTT

ELLSWORTH, KARA

ENGELS,
GERRI

FINKBONNER, WILLIAM

FISHER, AARON

FLEMING, RANDY

FORD, J & B

FRANCIS, BRIAN

FRANKLIN, WILLIAM
FROMBLY, RICHARD  
GADMAN, TERESA

GALBREATH, DAVID

GARCIA, ROBERTO

GATES, CONAN
GERDON, ROBERT
	GILL, LYNN

GRAY, DAROLD

GREENBURG, MARK
GRIFFEN, MIKE (2)

GUDMUNSON, ANTHONY

HAGEN, TODD

HAINES, LEVI

HAINES, LINDA (2)

HAINES,
WALDEN

HALL, JAMIE

HAMILTON, CLAY

HAN, JULIE

HART, TIM & TRICIA (2)

HAUGHT, ROBERT

HAVEMAN, TYREL


HEINER, JASON & STORMY (2)
HEMNES, LUKE

HENDERSON, DARLENE

HENDRICKS, JOHN

HENDRICKS, VIRGINIA
HILTON, TOM 

HOGUE,
RHONDA

HOLZ, BRADLEY

HOOKHAM, PAUL

HORSEMAN, TOM

HUBBARD, H

HUBBARD, KENNY

HUGHS, DOUG

HUIZENGA, RICHARD

HULFORD, CHAD

INTVELD, STEVE      

ISENHART, NICK
ISREAL, NATURAL

JACKSON, BRADLEY

JACKSON, DAN

JEFFRIES, RONALD

JERETZKY, SETH

JOHNSON, EMILY

JONES, TODD (2)
JORGENSEN, MELISSA

KELSH, ARTHUR

KINDER,
KYLE 

KNAPP, JESSICA
KRAMER, MATTHEW

KOYEN, ALEX
LARSON,
STAN

LEMBCKE, ROBERT

LIDDER, SHAMSHER

LINDERMAN, JOE


LINDQUIST, ROSS

LONGSTAFF, DENNIS

LOWER,
BRUCE

LYSEN, RICHARD


MACE, DON

MACMILLAN, FRANK

MALLARD, LINDSEY

MARR, MARLENE (2)

MAYER, JENNIFER

MCALPINE, GLENN


MCCOLLUM, MARK

MCGLENN, KIM

MIDDLETON, ROLAND
MOA, BRENT (4)
MOA, MASON


MONEY,
STEVE
MOORMAN, PAUL


MOORS, DEAN

MORA, BEN & LESIE

MORGANTHALER,
KAREN

MORIARTY, DENISE

MYERS, JEFF
NICHOLS, GLEN

NICHOLS, MIKE

NOE, GERALD

OBRIEN,
JOHN


	O’CONNER, GERALD

OGREN, WAYNE

OLNEY, MARK

PARHAM, LUKE

PARK, KEN

PARSONS, DAVID

PEARSON, RON



PEDERSON, ROBERT

PHEIFER
RON

PHILLIPS, DAN

PHILLIPS, DANNY

PINKSTON, LESLIE

POKORSKI, JOHN
PORTER, KYLE


PORTER
PAUL

PRIEST, STEPHANIE (2)
REAMER, RAY

REINKE, RYAN



RHOADS, RALPH

RIGGS, ANDREW

RODE, CLARA

ROLAND, STEVE
ROME GRANGE

ROME STORE


ROPER, SAMUEL

RYAN, BERNARD

SAENZ, JOHN

SAVCHAK, ALEKSANDER

SCARBOROUGH, DAVID

SCOGGINS, THOMAS (2)
SCHRAEDER, STONE

SCOVILLE, AMBER
SCOVILLE, LEA



SEARS WILLIAM


SHATZ & MATHEWS

SHELTON, MATTHEW

SHEPHERD, JUSTIN


SIVO, PHIL


SMITH, EUGENE


SMITH, JAMES
SMITH, JEFF

SMOOT, GERALD
 

STREUBEL, MARV 

STREUBEL, STAN

STROM, BEN & JENI (2)
SULLIVAN, DIANN
SWANSON, SARAH
THOMPSON, AARON



THOMPSON, GARTH

TOVAR, EMMA
VALUM, DON




VALUM, HANS

VALUM, BRYCE
VANDERHACK III, ALBERT



VANDERVEEN, MICHELLE


VANDERYACHT, ANITA
VANDERYACHT, ROBERT
VANDERYACHT, WILLIAM

VOGEL, CHRIS 

WALLACE, MICHAEL

WASHBURN, ROBERT 

WASNEIWSKI, ALEX

WAZNY, MARCIA


WELTERS, RITA
WELTERS, STEVE

WHATCOM COUNTY PARKS

WHITSON, AARON

WICKWIRE, JERRY

WILLET, DERICK

WILLIAMS, TOM

WINTERBURN, STEVE

WONDER, NICHOLAS

WOOD, JENIFER

ZENDER, TOM

ZOURKOS, DIMITRIOS



SAMPLE STATION


(2017)





SAMPLE STATION


(2018)





SAMPLE STATION


(2016)








